PAGE       OF

|  | Missouri DeMissouri Department of Health and Senior Services Environmental Public Health EBL INVESTIGATION REPORT – PART C.1 Report of Lead in Dust and/or Water | JOB NO. | INVESTIGATION START DATE: |
| --- | --- | --- | --- |
|  |  | INVESTIGATOR |
| Lead-Contaminated Dust | Date Due for Completion: |
| AREAS: |
| Severity at time of investigation: Large quantities of surface dust containing low concentration of lead Small quantities of surface dust containing high concentrations of lead Large quantities of surface dust containing high concentrations of lead |
| Lead Hazard Reduction Methods for Dust Cleaning and Control: |
| Lead Hazard Reduction Methods for Drinking Water, Water Fixtures, and Plumbing | Date Due for Completion: |
| Temporary Controls (Additional water sampling may be needed to determine which control method is effective in reducing the concentration of lead in water below 15 ppb): Use only bottled water from a commercial source for drinking, cooking, and ice, especially for children. Allow water to run for several minutes before using if the tap has not been used for more than a few hours Do not use water from tap to wash ready-to-eat foods. Use only cold water from kitchen sink tap. Do not allow children to place objects (toys, wash clothes, etc.) in their mouths while bathing or drink bath/shower water. If the same water source has been used to irrigate a garden, the soil from the garden area should be tested. Avoid watering garden from this source in the future until lead source has been identified and corrected. Other Control Methods: Identify lead pipe or pipe with solders and replace. If initial draw is high, replace brass fixtures used for drinking water. If the water source itself is contaminated, an approved water softener or filter may be recommended. If water source itself is contaminated from a public supply, contact local authority through proper channels. |
| MO 580-2289 (3-01) | E10.9-1 |