XRF Quality Assurance/Instrument Performance Form

| MISSOURI DEPARTMENT OF HEALTH AND SENIOR SERVICES ENVIRONMENTAL PUBLIC HEALTH | PAGE______OF______ |
| --- | --- |
| CALIBRATION CHECK |  |
|  | JOB NO. |
| XRF Analyzer Calibration Check If an XRF analyzer is used to obtain environmental sample results in the course of the Assessment, the instrument must be calibrated prior to use and as directed by the manufacturer. Calibration checks should be made at the beginning of each job, every four hours during continuous operation, at the end of every job, and each time the instrument is turned on. If specified by the manufacturer, the XRF analyzer should be calibrated if there is a significant change in temperature in work environments as soon as the temperature of the instrument has had an opportunity to adjust. |

Zero reading:  ____________	Acceptable Range:  	0.0	+/-

Acceptable Control Range:  _______________________

| Reason for Check | Standard Used | XRF Reading | Accept or Reject | Corrective Action Number |
| --- | --- | --- | --- | --- |

Reason for Check						Corrective Action Number

I.C.	=	Initial Calibration			1.	Cleaned Instrument Face

Temp	=	Work Environment			2.	Cleaned Zero Block/ Calibration

Temperature Change				Film

4/Hour	=	Subsequent four hour		3.	Manual Zero/ calibration

check			4.	Consulted Manufacturer

T.O.	=	Resumed Assessment After			5.	Sent instrument to

Instrument was Turned Off			Manufacturer for service

F.C.	=	Final Calibration